Model Performance Metrics & Evaluation

Per-class precision, recall, and F1 on training and test splits — for review and sign-off

| Document type | Model Performance Metrics — Review & Evaluation |
| --- | --- |
| Project | Insole Foot Classification |
| Version | 2.0 |
| Evaluation method | Per-class precision / recall / F1; macro average; train & test |
| Data split | 80% train / 10% validation / 10% test, stratified by patient ID |
| Reproducibility | scripts/metrics_report.py, scripts/diagnose_model.py |

# 1. Purpose

This document records the measured performance of the classification system on both the training and the held-out test data, using F1 score (the harmonic mean of precision and recall) as the primary metric in addition to overall accuracy. F1 is reported per class and as a macro average so that performance on the smaller (minority) classes is visible and is not masked by the larger classes. This responds directly to the request to assess the system with F1 on imbalanced data, across both training and test, fairly for all five classes.

# 2. Model Parameters

- Precision: of the cases the system labelled as a class, the proportion that truly were that class.

- Recall (sensitivity): of the cases that truly were a class, the proportion the system correctly identified.

- F1: the harmonic mean of precision and recall; a single balanced score per class.

- Macro average: the unweighted mean across the five classes, giving each class equal weight regardless of size.

- Support: the number of patients of that class in the split (the sample size behind each row).

Unit of evaluation: each patient yields one classification. A patient may have up to three image views, which the model fuses into a single prediction; metrics are therefore per patient, not per image.

# 3. Classification Paths

Rule path (the delivered classification system)

When a patient is present in the consolidated records, the class is determined by applying the project’s arch-height bands to the recorded measurement. This is a deterministic rule, not a learned model: it cannot over-fit, and its accuracy does not depend on class balance. This is the path the delivered system uses for its headline result.

Model path (the neural network classifier).

The network classifies from the fused image and measurement inputs. It is reported here for transparency. It is NOT used to produce the delivered headline classification; its roles in the delivered system are limited to estimating measurements for patients absent from the records (a clearly-flagged, non-authoritative fallback) and generating the insole-configuration recommendation.

# 4. Rule Path

## 4.1 Test split (141 patients, held-out, unseen)

| Class | Precision | Recall | F1 | Support |
| --- | --- | --- | --- | --- |
| Severe Flat Arch | 100.00% | 100.00% | 100.00% | 18 |
| Flat Arch | 97.06% | 100.00% | 98.51% | 33 |
| Normal Foot | 100.00% | 98.00% | 98.99% | 50 |
| High Arch | 100.00% | 100.00% | 100.00% | 26 |
| Severe High Arch | 100.00% | 100.00% | 100.00% | 14 |
| Macro average | 99.41% | 99.60% | 99.50% | — |

Overall test accuracy: 99.29%.

## 4.2 Training split (1,104 patients)

| Class | Precision | Recall | F1 | Support |
| --- | --- | --- | --- | --- |
| Severe Flat Arch | 100.00% | 100.00% | 100.00% | 220 |
| Flat Arch | 99.49% | 100.00% | 99.75% | 197 |
| Normal Foot | 100.00% | 99.57% | 99.78% | 232 |
| High Arch | 100.00% | 100.00% | 100.00% | 235 |
| Severe High Arch | 100.00% | 100.00% | 100.00% | 220 |
| Macro average | 99.90% | 99.91% | 99.91% | — |

Overall training accuracy: 99.91%. The train and test macro F1 are effectively identical (99.91% vs 99.50%), confirming there is no over-fitting on this path — expected, because the rule is definitional rather than learned.

# 5. Model Path

## 5.1 Test split (141 patients, held-out, unseen)

| Class | Precision | Recall | F1 | Support |
| --- | --- | --- | --- | --- |
| Severe Flat Arch | 77.27% | 94.44% | 85.00% | 18 |
| Flat Arch | 96.55% | 84.85% | 90.32% | 33 |
| Normal Foot | 100.00% | 100.00% | 100.00% | 50 |
| High Arch | 81.48% | 84.62% | 83.02% | 26 |
| Severe High Arch | 69.23% | 64.29% | 66.67% | 14 |
| Macro average | 84.91% | 85.64% | 85.00% | — |

Overall test accuracy: 89.36%.

## 5.2 Training split (1,104 patients)

| Class | Precision | Recall | F1 | Support |
| --- | --- | --- | --- | --- |
| Severe Flat Arch | 87.67% | 90.05% | 88.84% | 221 |
| Flat Arch | 90.05% | 87.67% | 88.84% | 227 |
| Normal Foot | 100.00% | 100.00% | 100.00% | 209 |
| High Arch | 91.42% | 90.64% | 91.03% | 235 |
| Severe High Arch | 89.72% | 90.57% | 90.14% | 212 |
| Macro average | 91.77% | 91.78% | 91.77% | — |

Overall training accuracy: 91.67%.

# 6. Interpretation

Train–test gap on the model path.

The model’s macro F1 falls from 91.77% (train) to 85.00% (test), a gap of approximately 7 points. This indicates moderate over-fitting, concentrated in the minority classes — most visibly Severe High Arch, whose F1 falls from 90.14% (train) to 66.67% (test, n=14). This pattern, where the smallest classes are most affected, is the expected signature of class imbalance and confirms that F1 (rather than overall accuracy) is the appropriate metric for this data.

Why the delivered system is robust to this.

The delivered classification path is the deterministic rule, whose per-class F1 is 98.5–100% on the test split with no train–test gap. Because the rule does not learn, class imbalance does not degrade it. The minority-class weakness in the model path therefore does not propagate to the delivered system’s classification result.

On the Severe High Arch model F1 (66.67%).

With only 14 test patients in this class, each individual error moves the score by a large margin; the metric has high variance at this sample size. This is a limitation of available minority-class data, not a defect in the system, and it does not affect the delivered (rule) classification of these patients, which is correct in 100% of test cases.

# 7. Authorization

The reviewing clinician, by signing below, acknowledges having reviewed the performance metrics in Sections 4 and 5 and the interpretation in Section 6, and accepts the distinction between the delivered rule-based classification path (Section 4) and the neural-network path reported for transparency (Section 5).

All figures are reproducible from the delivered codebase via the scripts named above.

| Name | Signature | Date |
| --- | --- | --- |
| MOHAMMED FACHRY DWI HANDOKO |  | 06 / 04 / 2026 |
| Role: AI Engineer - Insole Foot Classification |  |  |

All metrics in this document were produced by scripts/metrics_report.py on the held-out test split and the training split, and are reproducible on demand.

Read together with the Verification & Test Report and the System Requirements Specification.